## Slide 1: A New Concept for Polarized 3He+ Ion Source
Ralf Engels (IKP-2@FZJ/GSI)
26 February 2024
Notes: 25 minutes + 5 minutes discussion

## Slide 2: Polarized 3He ion sources
Nuclear Physics
  3He spin dominated by neutron spin
  Ideal substitute for polarized neutron beam
Polarized Fusion
  d + 3He4He + p + 18.4 MeV
  Increased cross section and control over ejectile directions (talk at 5 pm)
Other polarized 3He ion source
  either limited to small polarization (<10% Rice, 1969)
  or limited to small currents (0.1 nA Birmingham, 1974 | 100 nA Laval, 1983)
  or complicated development (20 years RHIC/EIC, 2024?)

## Slide 3: optical pumping of 3He
Rb
Spin-exchange OP
26.02.2024

## Slide 4: optical pumping of 3He
Metastability exchange OP
Rb
SEOP
26.02.2024

## Slide 5: optical pumping of 3He
MEOP
Rb
SEOP
Method:
Polarized Laser Photons
↓
Polarized Electrons
↓
Polarized Nucleons
Efficiency
1 kW of Laser Power
~ 1022 Photons/s
~ 1018 pol. 3He/s
P3He ~ 0.8
26.02.2024

## Slide 6: Polarized 3He Source
Big Problem:
Polarization is lost during the ionization process !!!
one electron removed → residual electron and nucleon will couple
→ nuclear spin is partialy flipped → polarization mostly lost
Idea in Brookhaven:
remove both electron at the same time in a strong magnetic field
→ EBIS
26.02.2024

## Slide 7: New method:
Radio-Wave Pumping
+
Quantum Interference
Example: metastable hydrogen atoms (2S)
26.02.2024

## Slide 8: New method: Radio-Wave pumping
B
B
S. Aswani, Bachelor thesis, (2022)

## Slide 9: Radio-Wave Pumping: Photon model
Static magnetic field
P. Buske, Bachelor thesis, (2016)

## Slide 10: Photon model
Beam enters the Sona transition unit
Static magnetic field
P. Buske, Bachelor thesis, (2016)

## Slide 11: Photon model
Beam enters the Sona transition unit
Lorentz transformation into the rest frame of the beam
Static magnetic field
P. Buske, Bachelor thesis, (2016)

## Slide 12: Photon model
Beam enters the Sona transition unit
Lorentz transformation into the rest frame of the beam
Electromagnetic fields  Photon pulse  lead to magnetic dipole transitions
Static magnetic field
P. Buske, Bachelor thesis, (2016)

## Slide 13: Photon model
λ = 0.25 m / v = 4 · 105 m/s
→ EPh = 6 · 10-9 eV ≈ 1.6 MHz

## Slide 14: Photon model
(2n-1)
Zeeman region
F = J + I
|mJ=1/2, mI =1/2>
Paschen-Back region
B
Breit-Rabi diagram:
Hyperfine Splitting
of metastable
Hydrogen atoms
with the Lamb shift

## Slide 15: Photon model
Components of a Lamb-shift polarimeter (see talk by N. Faatz)
H2 → p, H2+ → p → H2S → α1 → ? → α1, α2, α1+α2
α2
α1+α2
all 4 HFS

## Slide 16: Photon model
Breit-Rabi Diagram of H2S
mS= +1
mS= -1

## Slide 17: Theoretical approach
Hamiltonian

## Slide 18: Theoretical approach
Time-dependent perturbation
Hamiltonian

## Slide 19: Photon model
only α1 unpol beam
Simulation
Measurement

## Slide 20: Breit-Rabi diagram
+
A. Schneider, B. Sikora, S. Dickopf et al., Nature 606, 878 (2022).
DOI: 10.1038/s41586-022-04761-7

## Slide 21: Breit-Rabi diagram

## Slide 22: Simulation for

## Slide 23: Experimental set-up

→

## Slide 25: Measurement
Problem:
How to measure the nuclear (electron) polarization of 3He+ ?
Option:
Nuclear reaction polarimeter
Analyzing powers of p(3He, p)3He and d(3He, p)4He are known at MeV energies

## Slide 26: Analyzing Powers
p(3He,p)3He
d(3He,p)4He
C. Zheng

## Slide 27: LOW ENERGY BEAMLINE
Purely magnetic bending + focusing
6 Dipoles
15 Quadrupoles
10 Solenoids
10 Steerer
5 Viewer
FB5
R.Gebel, PSTP2007

## Slide 28: HIGH ENERGY BEAMLINE
2 Dipoles
10 Quadrupoles
3 Steerer
1 LEPol
Beam transport very similar to 45 MeV protons
5m

## Slide 29: LE-POLARIMETER
3He+ beam
Target-Ladder
Remote controlled exchange of different targets
Vacuum-Chamber
8 pipe connections
8 windows (75 steel)
12 Detectors
Plastic scintillator with photomultiplier
8 Motorized Carts
Automated angle selection

## Slide 30: Identification of reactions at 14 MeV
x20

## Slide 31: Discussion
Last beam time at the IKP !!!
Long list of problems
1.) Last supervisor left the IKP during the beam time
2.) The polarity of the cyclotron must be changed for the first time in 25 years !!!
→ The expected energy of 70 MeV could not be reached,
just 14 MeV are reached (p(3He,p)3He)
→ No stripping behind cyclotron possible (Plan B)
Data Analysis is still ongoing !!!

## Slide 32: Discussion
This method works for: (Patent No. DE102022213860.0)
1.) H and D atoms → Polarized fuel for fusion reactors (see talk at 5 p.m.)
2.) H2+ and D2+ ions → Polarized molecular ion sources for stripping injection
3.) H2 and D2 molecules → New type of polarized target (coupling: Jrot ↔ I)
4.) Polarized tracers in medicine
5.) New type of low-field NMR ? (see talk by Dimitry Budker tomorrow)
6.) Precission spectroscopy
7.) New type or MRI in medicine ?